## Slide 1: Hydrology Update
June 23, 2022
Bart Leeflang, P.E.

## Slide 2: Status: June 20, 2022
Reservoir | Percent Full | Content (MAF) | Elevation (feet)
Lake Powell | 28% | 6.79 | 3,538.51
Lake Mead | 28% | 7.27 | 1,044.25
Total System Content | 35% | 20.86 | NA
Total System Content (one year ago) | 42% | 24.96 | NA
Net System Loss of 7% or 4.1 MAF between June 2021 and 2022

## Slide 8
https://www.usbr.gov/uc/water/basin/colorado.png

## Slide 12: DROA (500KAF) AND COOPERATIVE ACTION (480KAF)

## Slide 15
3519.6
1,039.1

## Slide 18
Note: This figure shows penstock centerline at 3490 which is not correct. The penstock intake centerline is at 3470.

## Slide 22: Protection Elevations Lake Powell: 3525 3500 Lake Mead: 1020 1000

## Slide 23
Chart: Lake Powell Elevation Range
| 44712 | 44742 | 44773 | 44804 | 44834 | 44865 | 44895 | 44926 | 44957 | 44985 | 45016 | 45046 | 45077 | 45107 | 45138 | 45169 | 45199 | 45230 | 45260 | 45291 | 45322 | 45351 | 45382 | 45412 | 45443
Min | 3525.9109 | 3534.0107 | 3530.6666 | 3524.9673 | 3522.9408 | 3520.955 | 3517.4226 | 3512.3011 | 3503.5409 | 3494.8602 | 3486.4262 | 3493.8128 | 3500.8662 | 3496.8749 | 3485.9375 | 3475.0034 | 3469.1794 | 3466.1614 | 3462.0684 | 3454.6752 | 3444.444 | 3435.4456 | 3427.8312 | 3425.8725 | 3434.8324
Min - 90% | 2.7644 | 1.1938 | 1.7772 | 2.2822 | 1.874 | 2.5561 | 3.9601 | 5.1673 | 7.1215 | 9.1571 | 11.8633 | 6.1149 | 6.1022 | 11.5697 | 15.1246 | 17.8861 | 18.9168 | 20.7389 | 22.536 | 24.4719 | 26.9509 | 29.5004 | 31.9028 | 36.6789 | 45.418
90% - 80% | 0.67461 | 1.1814 | 1.5723 | 1.3898 | 1.5049 | 1.4116 | 1.6868 | 1.2602 | 1.6581 | 3.474 | 5.2427 | 1.6307 | 4.7698 | 20.1749 | 27.0094 | 28.899 | 30.3596 | 29.2766 | 26.8527 | 25.3734 | 24.8067 | 23.9297 | 25.3162 | 22.6015 | 20.2434
80% - 70% | 1.1996 | 1.0655 | 0.8657 | 1.3996 | 1.5131 | 2.1611 | 1.3254 | 1.2963 | 1.81 | 2.1142 | 0.54468 | 1.4699 | 5.3142 | 3.4394 | 1.9836 | 3.1514 | 4.5806 | 4.9612 | 8.138 | 10.496 | 13.3904 | 17.29 | 17.5497 | 13.9689 | 21.349
70% - 60% | 1.3419 | 1.7611 | 1.0197 | 0.78947 | 1.288 | 0.74163 | 1.9842 | 1.5525 | 1.7071 | 1.3615 | 1.6797 | 3.2731 | 4.8977 | 6.6201 | 7.632 | 8.4145 | 8.4597 | 9.5646 | 9.1577 | 9.7841 | 8.6619 | 4.7319 | 1.776 | 10.3904 | 7.7425
60% - 50% | 0.67261 | 0.74041 | 1.4157 | 1.7822 | 1.0165 | 1.2137 | 0.4168 | 1.3977 | 1.8601 | 2.574 | 3.8103 | 3.7469 | 1.9926 | 6.3532 | 9.9742 | 10.6449 | 10.7659 | 10.1608 | 9.5061 | 9.0249 | 8.2351 | 11.2629 | 15.5439 | 14.206 | 9.1085
50% - 40% | 0.58277 | 0.98954 | 0.76057 | 0.25516 | 0.62398 | 0.93982 | 0.24926 | 0.41352 | 0.84806 | 1.1606 | 2.2789 | 1.8647 | 2.1856 | 3.4905 | 5.5772 | 5.5414 | 6.0287 | 11.2547 | 13.6854 | 15.225 | 17.3236 | 17.6714 | 18.3161 | 18.799 | 18.1187
40% - 30% | 0.62888 | 0.4976 | 0.43706 | 0.43769 | 0.65206 | 0.88231 | 3.0237 | 3.1554 | 2.5981 | 1.3904 | 1.0484 | 1.2932 | 2.5926 | 6.2927 | 7.9263 | 8.7431 | 9.165 | 5.2104 | 4.5714 | 5.7369 | 7.2676 | 8.2285 | 7.3634 | 2.9851 | 5.7503
30% - 20% | 0.42365 | 0.44266 | 0.35096 | 1.4531 | 1.1564 | 1.1017 | 0.93132 | 1.216 | 1.2951 | 1.4756 | 1.7299 | 2.8773 | 9.873 | 4.1823 | 10.8562 | 10.6765 | 10.0515 | 10.3535 | 10.6271 | 10.7058 | 10.6875 | 10.5403 | 10.059 | 11.8036 | 20.8787
20% - 10% | 0.78601 | 0.44686 | 1.4946 | 0.99442 | 1.7817 | 3.3062 | 4.1692 | 4.4214 | 5.2227 | 5.647 | 4.7257 | 9.3676 | 3.0959 | 14.869 | 11.5217 | 13.7954 | 14.469 | 17.6006 | 19.3354 | 20.0655 | 21.5095 | 23.1988 | 25.2258 | 25.6063 | 11.8829
10% - Max | 0.88673 | 2.3379 | 2.9302 | 2.8818 | 2.1916 | 1.8594 | 1.4353 | 1.1519 | 0.53837 | 1.0407 | 3.8804 | 2.8481 | 7.9868 | 4.7508 | 5.3007 | 3.5797 | 4.9518 | 3.1892 | 3.2165 | 3.8504 | 4.2416 | 4.351 | 4.5217 | 5.8001 | 15.6393
"Median" | 3532.5641 | 3539.9529 | 3537.3172 | 3532.6106 | 3530.1374 | 3529.0391 | 3526.7958 | 3522.9751 | 3517.6978 | 3513.541 | 3509.567 | 3510.0482 | 3523.9427 | 3545.0322 | 3547.6613 | 3543.9994 | 3542.262 | 3540.8634 | 3538.259 | 3533.8254 | 3526.489 | 3522.1604 | 3519.9199 | 3523.7183 | 3538.6938

## Slide 24
Chart: Volume Range Required to Maintain Lake Powell above 3500 Threshold
| 44712 | 44742 | 44773 | 44804 | 44834 | 44865 | 44895 | 44926 | 44957 | 44985 | 45016 | 45046 | 45077 | 45107 | 45138 | 45169 | 45199 | 45230 | 45260 | 45291 | 45322 | 45351 | 45382 | 45412 | 45443
Max | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10% - Max | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20% - 10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30% - 20% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40% - 30% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50% - 40% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60% - 50% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70% - 60% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47023.65 | 0
80% - 70% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 196860.73 | 567559.1 | 751415.62 | 699610.17 | 0
90% - 80% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93799.81 | 5237.07 | 0 | 0 | 0 | 369259.34 | 606632.4 | 660038.88 | 770512.28 | 1028137.74 | 1181151 | 1084092.12 | 1113649.94 | 1004509.62 | 977348.89
Min - 90% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 268276.16 | 590392.53 | 313683.46 | 0 | 166070.78 | 708269.4 | 845029.41 | 866809.04 | 941227.52 | 1001144.32 | 1038654.06 | 1070142.26 | 1109072.21 | 1144514.71 | 1321691.55 | 1803509.81
Min | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 268276.16 | 684192.34 | 318920.53 | 0 | 166070.78 | 708269.4 | 1214288.75 | 1473441.44 | 1601266.4 | 1771656.6 | 2066791.8 | 2448153.99 | 2760723.43 | 3009580.27 | 3072834.99 | 2780858.7

## Slide 25
Chart: Lake Mead Elevation Range
| 44712 | 44742 | 44773 | 44804 | 44834 | 44865 | 44895 | 44926 | 44957 | 44985 | 45016 | 45046 | 45077 | 45107 | 45138 | 45169 | 45199 | 45230 | 45260 | 45291 | 45322 | 45351 | 45382 | 45412 | 45443
Min | 1047.761 | 1042.197 | 1039.693 | 1037.9834 | 1035.4918 | 1035.3878 | 1034.4766 | 1036.6425 | 1038.5143 | 1040.953 | 1037.4332 | 1030.5982 | 1024.2438 | 1018.4452 | 1015.0574 | 1013.1529 | 1012.1223 | 1011.9436 | 1009.882 | 1010.8465 | 1013.2456 | 1015.9876 | 1012.5241 | 1006.5955 | 1000.5615
Min - 90% | 0.36028 | 0.45148 | 0.20756 | 1.0325 | 2.1874 | 2.6087 | 3.1216 | 2.7365 | 2.2858 | 1.1197 | 1.613 | 2.7695 | 2.65 | 2.5341 | 2.9238 | 3.7267 | 2.0813 | 3.8188 | 4.078 | 4.5713 | 4.1202 | 4.4624 | 3.5052 | 3.389 | 2.2973
90% - 80% | 0.096245 | 0.16834 | 0.22993 | 0.94413 | 0.43575 | 0.80229 | 1.0267 | 1.1669 | 1.1567 | 1.4089 | 1.3531 | 1.1795 | 1.6362 | 1.8462 | 1.6186 | 1.7643 | 2.4156 | 0.90234 | 1.4868 | 1.1823 | 1.7436 | 0.75282 | 3.3165 | 4.5561 | 5.7956
80% - 70% | 0.097559 | 0.22105 | 0.61475 | 0.12117 | 0.17098 | 0.52146 | 0.64681 | 0.63859 | 0.46789 | 0.69449 | 0.49397 | 0.32435 | 0.37999 | 0.73642 | 0.81649 | 1.3435 | 1.095 | 0.71246 | 1.1707 | 1.678 | 2.0082 | 2.3507 | 3.3608 | 4.3034 | 4.949
70% - 60% | 0.022627 | 0.28098 | 0.15848 | 0.16102 | 0.11999 | 0.57867 | 0.41148 | 0.73814 | 0.77153 | 0.35068 | 0.82693 | 1.6465 | 2.4681 | 2.3845 | 1.8412 | 0.99846 | 0.96988 | 1.9094 | 1.7312 | 1.8937 | 4.577 | 4.9129 | 3.4173 | 3.3689 | 4.0795
60% - 50% | 0.1054 | 0.12236 | 0.20604 | 0.28179 | 0.38595 | 0.28879 | 0.48618 | 0.52699 | 0.49643 | 0.43589 | 1.3381 | 1.4 | 0.73786 | 1.354 | 2.5222 | 3.0815 | 3.1476 | 3.333 | 3.0142 | 3.6312 | 4.4852 | 6.3468 | 7.5809 | 6.5046 | 6.8043
50% - 40% | 0.15119 | 0.49993 | 0.21097 | 0.10016 | 0.28511 | 0.4315 | 0.80883 | 0.7012 | 1.2323 | 1.638 | 1.2725 | 2.5804 | 3.0994 | 2.9485 | 3.0991 | 3.8239 | 5.0373 | 5.9459 | 7.354 | 6.6256 | 4.4635 | 3.7058 | 4.4425 | 6.5336 | 6.6749
40% - 30% | 0.41417 | 0.23477 | 0.25311 | 0.52659 | 0.60984 | 0.69516 | 0.95711 | 0.99102 | 3.0244 | 3.2045 | 2.5543 | 1.9832 | 3.6032 | 5.0613 | 6.3288 | 7.2957 | 7.0728 | 4.9106 | 3.3605 | 3.7573 | 2.9767 | 4.4141 | 5.3109 | 4.1948 | 6.585
30% - 20% | 0.2867 | 0.60718 | 0.58332 | 0.72731 | 0.77804 | 0.57296 | 0.63451 | 2.0141 | 3.0638 | 4.2809 | 7.2601 | 9.0344 | 9.2707 | 9.6203 | 10.3178 | 10.9426 | 11.1537 | 11.015 | 11.8416 | 11.9382 | 10.7936 | 11.1585 | 9.6131 | 10.9966 | 9.1
20% - 10% | 0.7933 | 0.84364 | 1.3436 | 1.2048 | 1.3535 | 0.82234 | 0.60772 | 1.1995 | 2.1002 | 5.5708 | 8.9792 | 9.9534 | 11.397 | 12.1756 | 11.9197 | 11.9432 | 13.2079 | 13.8835 | 13.0264 | 12.2592 | 11.2087 | 6.6642 | 7.2443 | 7.2923 | 7.7078
10% - Max | 0.40735 | 0.50887 | 0.42207 | 0.4903 | 0.19813 | 2.6253 | 3.6872 | 4.1526 | 8.8917 | 11.0307 | 12.7534 | 11.9194 | 10.8897 | 9.9417 | 9.764 | 9.9052 | 8.7703 | 8.4148 | 8.2997 | 8.6014 | 9.1134 | 9.2769 | 6.9587 | 4.4306 | 2.9191
Median | 1048.4431 | 1043.4412 | 1041.1098 | 1040.5241 | 1038.7919 | 1040.1877 | 1040.1693 | 1042.4496 | 1043.6926 | 1044.9627 | 1043.0583 | 1037.9181 | 1032.1161 | 1027.3003 | 1024.7796 | 1024.0674 | 1021.8316 | 1022.6195 | 1021.3629 | 1023.8029 | 1030.1799 | 1034.8134 | 1033.7048 | 1028.7174 | 1024.4872